Copyright 2015 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

This Product MasterSpec Section is licensed by ARCOM to Sloan Valve Company ("Licensee").

This Product MasterSpec Section modifies the original MasterSpec text, and does not include the full content of the original MasterSpec Section.

Revisions made to the original MasterSpec text are made solely by the Licensee and are not endorsed by, or representative of the opinions of, ARCOM or The American Institute of Architects (AIA).  Neither AIA nor ARCOM are liable in any way for such revisions or for the use of this Product MasterSpec Section by any end user.  A qualified design professional should review and edit the document to suit project requirements.

For more information, contact Sloan Valve Company, 10500 Seymour Ave., Franklin Park, IL 60131; Phone: (800) 982-5839; Fax: (800) 447-8329; Website: www.sloanvalve.com; Email: customer.service@sloanvalve.com.

For information about MasterSpec contact ARCOM at (800) 424-5080 or visit www.MasterSpec.com.

SECTION 224213.16 - COMMERCIAL URINALS

TIPS:

To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single-File Formatting/Toggle/Editor's Notes.

To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

- GENERAL

      - RELATED DOCUMENTS

Retain or delete this article in all Sections of Project Manual.

        - Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

      - SUMMARY

        - Section Includes:

          - Urinals.

          - Flushometer valves.

          - Supports.

        - Related Requirements:

Retain subparagraph below to cross-reference requirements Contractor might expect to find in this Section but are specified in other Sections.

          - Section 224600 "Security Plumbing Fixtures" for security urinals.

      - ACTION SUBMITTALS

        - Product Data: For each type of product.

          - Include construction details, material descriptions, dimensions of individual components and profiles, and finishes for urinals.

          - Include rated capacities, operating characteristics, electrical characteristics, and furnished specialties and accessories.

        - Sustainable Design Submittals:

"Product Data" Subparagraph below applies to LEED (including v4), IgCC, ASHRAE 189.1, and Green Globes for fixtures and equipment that consume water.

          - Product Data: For water consumption.

Retain "Shop Drawings" Paragraph below if equipment includes wiring.

        - Shop Drawings: Include diagrams for power, signal, and control wiring.

      - CLOSEOUT SUBMITTALS

        - Operation and Maintenance Data: For flushometer valves[ and electronic sensors] to include in operation and maintenance manuals.

      - MAINTENANCE MATERIAL SUBMITTALS

        - Furnish extra materials that are packaged with protective covering for storage and identified with labels describing contents.

          - Flushometer-Valve Repair Kits: Equal to [10] <Insert number> percent of amount of each type installed, but no fewer than [one] [six] <Insert number> of each type.

          - Waterless Urinal Trap-Seal Cartridges: Equal to [200] <Insert number> percent of amount of each type installed, but no fewer than [12] <Insert number> of each type.

          - Waterless Urinal Trap-Seal Liquid: Equal to [1 gal. (3.8 L)] <Insert volume> for each urinal installed.

- PRODUCTS

See Editing Instruction No. 1 in the Evaluations for cautions about named manufacturers and products. For an explanation of options and Contractor's product selection procedures, see Section 016000 "Product Requirements."

Do not use same urinal designation as is used for another urinal in Section 224600 "Security Plumbing Fixtures."

For a complete listing of Sloan's products, visit https://www.sloan.com/

      - WALL-HUNG URINALS

Copy "Urinals" Paragraph below and re-edit for each type of wall hung, back outlet, washout urinal required.

Insert number to complete drawing designation. Use these designations on Drawings to identify each urinal.

        - Urinals <Insert drawing designation>: Wall hung, back outlet, washout.

Sloan Valve Company; SU 1009 High Efficiency series specifications available at https://specifications.sloan.com/sloan-spec/template/spec-template/fixtureId/2525

Sloan Valve Company, SU 1006 is the 1.6 gpf version of the SU 1009. Specification sheet https://specifications.sloan.com/sloan-spec/template/spec-template/fixtureId/2521

For a complete list of Urinal fixtures please visit https://www.sloan.com/commercial-bathroom-products/urinals#!view-by-type

          - Basis-of-Design Product: Subject to compliance with requirements, provide Sloan Valve Company; Top Spud Urinals - SU-1009 H. E. Series or comparable product by the following:

            - <Insert manufacturer's name>.

          - Fixture:

            - Standards: ASME A112.19.2/CSA B45.1 and ASME A112.19.5.

            - Material: Vitreous china.

            - Type: Washout with extended shields.

            - Strainer or Trapway: [Manufacturer's standard strainer] <Insert strainer> with integral trap.

            - Water Consumption: [Low][High Efficiency].

First option in "Spud Size and Location" Subparagraph below is available from some manufacturers. Back spud is used with a remote hard-wired, solenoid-actuator, electronic-sensor flushometer valve. Verify availability if required.

            - Spud Size and Location: NPS 3/4 (DN 20), [back] [top].

            - Outlet Size and Location: NPS 2 (DN 50), back.

            - Color: [White] <Insert color>.

          - Flushometer Valve: <Insert urinal flushometer-valve designation from "Urinal Flushometer Valves" Article>.

          - Waste Fitting:

            - Standard: ASME A112.18.2/CSA B125.2 for coupling.

            - Size: NPS 2 (DN 50).

Coordinate "Support" Subparagraph below with "Supports" Article.

          - Support: [Type I Urinal Carrier] with fixture support plates and coupling with seal and fixture bolts and hardware matching fixture.[ Include rectangular, steel uprights.]<Insert carrier>.

          - Urinal Mounting Height: [Standard] [Child] [Handicapped/elderly according to ICC A117.1].

Copy "Urinals" Paragraph below and re-edit for each type of wall hung, rear outlet, washout urinal required.

Insert number to complete drawing designation. Use these designations on Drawings to identify each urinal.

SU 1010 specification https://specifications.sloan.com/sloan-spec/template/spec-template/fixtureId/2522

For a complete list of Urinal fixtures please visit https://www.sloan.com/commercial-bathroom-products/urinals#!view-by-type

        - Urinals <Insert drawing designation>: Wall hung, rear outlet, washout.

          - Basis-of-Design Product: Subject to compliance with requirements, provide Sloan Valve Company; Rear Spud Urinals - SU-1010 Series or comparable product by the following:

            - <Insert manufacturer's name>.

          - Fixture:

            - Standards: ASME A112.19.2/CSA B45.1 and ASME A112.19.5.

            - Material: Vitreous china.

            - Drain: Separate removable chrome-plated dome strainer with chrome-plated, NPS 1-1/2 (DN 40) tailpiece.

            - Strainer or Trapway: Manufacturer's standard strainer and NPS 1-1/2 (DN 40) tailpiece.

            - Design Consumption: [Water saving] [Low].

            - Inlet Spud Size and Location: NPS 3/4 (DN 20); top.

            - Outlet Size and Location: NPS 1-1/2 (DN 40); bottom.

            - Color: [White] <Insert color>.

          - Flushometer Valve: <Insert urinal flushometer-valve designation from "Urinal Flushometer Valves" Article>.

          - Waste Fitting:

            - Standard: ASME A112.18.2/CSA B125.2.

            - Trap:

              - Size: NPS 1-1/2 (DN 50).

Retain one of two "Material" subparagraphs below.

              - Material: Chrome-plated, [two-piece, cast-brass trap and swivel elbow with 0.032-inch- (0.83-mm-) thick brass tube to wall] [two-piece, cast-brass trap and ground-joint swivel elbow with 0.032-inch- (0.83-mm-) thick brass tube to wall] [one-piece, cast-brass trap with swivel 0.029-inch- (73-mm-) thick tubular brass wall bend] <Insert trap type>; and chrome-plated brass or steel wall flange.

              - Material: Stainless-steel, two-piece trap and swivel elbow with 0.012-inch- (0.30-mm-) thick stainless-steel tube to wall; and stainless-steel wall flange.

Coordinate "Support" Subparagraph below with "Supports" Article.

          - Support: [Type II Urinal Carrier] with hanger and bearing plates.[ Include rectangular, steel uprights.]<Insert carrier>.

          - Urinal Mounting Height: [Standard] [Child] [Handicapped/elderly according to ICC A117.1].

Copy "Urinals" Paragraph below and re-edit for each type of wall hung, rear spud, bottom outlet, wash down urinal required.

Insert number to complete drawing designation. Use these designations on Drawings to identify each urinal.

For a complete list of Urinal fixtures please visit https://www.sloan.com/commercial-bathroom-products/urinals#!view-by-type

SU 1010 specification https://specifications.sloan.com/sloan-spec/template/spec-template/fixtureId/2522

        - Urinals <Insert drawing designation>: Wall hung, rear spud, bottom outlet, wash down.

          - Basis-of-Design Product: Subject to compliance with requirements, provide Sloan Valve Company; Rear Spud Urinals - SU-1010 H. E. Series or comparable product by the following:

            - <Insert manufacturer's name>.

          - Fixture:

            - Standards: ASME A112.19.1/CSA B45.2 and ASME A112.19.5.

            - Material: Enameled cast iron.

            - Style: Wash sink with back and without pedestal modified for use as urinal.

            - Size: [36 inches (915 mm)] [48 inches (1219 mm)] [60 inches (1525 mm)] [72 inches (1830 mm)].

            - Drain: Separate removable chrome-plated dome strainer with chrome-plated, NPS 1-1/2 (DN 40) tailpiece.

            - Water Consumption: High Efficiency.

            - Flushing Device: Manufacturer's standard self-closing valve with washdown pipe of length matching fixture.

            - Outlet Size and Location: NPS 1-1/2 (DN 40); bottom.

            - Color: White.

          - Flushometer Valve:

            - Standard: ASME A112.18.1/CSA B125.1.

            - Flushing Device: Manufacturer's standard for NPS 1/2 (DN 15) supply; self-closing valve; and wash-down pipe of length matching fixture.

          - Waste Fitting:

            - Standard: ASME A112.18.2/CSA B125.2.

            - Trap:

              - Size: NPS 1-1/2 (DN 50).

Retain one of two "Material" subparagraphs below.

              - Material: Chrome-plated, [two-piece, cast-brass trap and swivel elbow with 0.032-inch- (0.83-mm-) thick brass tube to wall] [two-piece, cast-brass trap and ground-joint swivel elbow with 0.032-inch- (0.83-mm-) thick brass tube to wall] [one-piece, cast-brass trap with swivel 0.029-inch- (73-mm-) thick tubular brass wall bend] <Insert trap type>; and chrome-plated brass or steel wall flange.

              - Material: Stainless-steel, two-piece trap and swivel elbow with 0.012-inch- (0.30-mm-) thick stainless-steel tube to wall; and stainless-steel wall flange.

Coordinate "Support" Subparagraph below with "Supports" Article.

          - Support: [Type I Sink Carrier] <Insert carrier>.

          - Sink/Urinal Mounting Height: [Standard] [Child] [Handicapped/elderly according to ICC A117.1].

Copy "Urinals" Paragraph below and re-edit for each type of wall hung, rear spud, bottom outlet, wash down urinal required.

Insert number to complete drawing designation. Use these designations on Drawings to identify each urinal.

SU 7019 Specification sheet https://specifications.sloan.com/sloan-spec/template/spec-template/fixtureId/2492

For a complete list of Urinal fixtures please visit https://www.sloan.com/commercial-bathroom-products/urinals#!view-by-type

        - Urinals <Insert drawing designation>: Wall hung, rear spud, bottom outlet, wash down.

          - Basis-of-Design Product: Subject to compliance with requirements, provide Sloan Valve Company; Rear Spud Urinals - SU-7019 Small H. E. Series or comparable product by the following:

            - <Insert manufacturer's name>.

          - Fixture:

            - Standards: ASME A112.19.1/CSA B45.2 and ASME A112.19.5.

            - Material: Enameled cast iron.

            - Style: Wash sink with back and without pedestal modified for use as urinal.

            - Size: [36 inches (915 mm)] [48 inches (1219 mm)] [60 inches (1525 mm)] [72 inches (1830 mm)].

            - Drain: Separate removable chrome-plated dome strainer with chrome-plated, NPS 1-1/2 (DN 40) tailpiece.

            - Water Consumption: High Efficiency.

            - Flushing Device: Manufacturer's standard self-closing valve with washdown pipe of length matching fixture.

            - Outlet Size and Location: NPS 1-1/2 (DN 40); bottom.

            - Color: White.

          - Flushometer Valve:

            - Standard: ASME A112.18.1/CSA B125.1.

            - Flushing Device: Manufacturer's standard for NPS 1/2 (DN 15) supply; self-closing valve; and wash-down pipe of length matching fixture.

          - Waste Fitting:

            - Standard: ASME A112.18.2/CSA B125.2.

            - Trap:

              - Size: NPS 1-1/2 (DN 50).

Retain one of two "Material" subparagraphs below.

              - Material: Chrome-plated, [two-piece, cast-brass trap and swivel elbow with 0.032-inch- (0.83-mm-) thick brass tube to wall] [two-piece, cast-brass trap and ground-joint swivel elbow with 0.032-inch- (0.83-mm-) thick brass tube to wall] [one-piece, cast-brass trap with swivel 0.029-inch- (73-mm-) thick tubular brass wall bend] <Insert trap type>; and chrome-plated brass or steel wall flange.

              - Material: Stainless-steel, two-piece trap and swivel elbow with 0.012-inch- (0.30-mm-) thick stainless-steel tube to wall; and stainless-steel wall flange.

Coordinate "Support" Subparagraph below with "Supports" Article.

          - Support: [Type I Sink Carrier] <Insert carrier>.

          - Sink/Urinal Mounting Height: [Standard] [Child] [Handicapped/elderly according to ICC A117.1].

        - Urinals <Insert drawing designation>: Wall hung, bottom outlet, wash down.

          - Manufacturers: Subject to compliance with requirements, provide products by the following:

            - <Insert manufacturer's name>.

          - Fixture:

            - Standards: ASME A112.19.1/CSA B45.2 and ASME A112.19.5.

            - Material: Enameled cast iron.

            - Style: Wash sink with back and without pedestal modified for use as urinal.

            - Size: [36 inches (915 mm)] [48 inches (1219 mm)] [60 inches (1525 mm)] [72 inches (1830 mm)].

            - Drain: Separate removable chrome-plated dome strainer with chrome-plated, NPS 1-1/2 (DN 40) tailpiece.

            - Water Consumption: Not applicable.

            - Flushing Device: Manufacturer's standard self-closing valve with washdown pipe of length matching fixture.

            - Outlet Size and Location: NPS 1-1/2 (DN 40); bottom.

            - Color: [White] <Insert color>.

          - Flushometer Valve:

            - Standard: ASME A112.18.1/CSA B125.1.

            - Flushing Device: Manufacturer's standard for NPS 1/2 (DN 15) supply; self-closing valve; and wash-down pipe of length matching fixture.

          - Waste Fitting:

            - Standard: ASME A112.18.2/CSA B125.2.

            - Trap:

              - Size: NPS 1-1/2 (DN 50).

Retain one of two "Material" subparagraphs below.

              - Material: Chrome-plated, [two-piece, cast-brass trap and swivel elbow with 0.032-inch- (0.83-mm-) thick brass tube to wall] [two-piece, cast-brass trap and ground-joint swivel elbow with 0.032-inch- (0.83-mm-) thick brass tube to wall] [one-piece, cast-brass trap with swivel 0.029-inch- (73-mm-) thick tubular brass wall bend] <Insert trap type>; and chrome-plated brass or steel wall flange.

              - Material: Stainless-steel, two-piece trap and swivel elbow with 0.012-inch- (0.30-mm-) thick stainless-steel tube to wall; and stainless-steel wall flange.

Coordinate "Support" Subparagraph below with "Supports" Article.

          - Support: [Type I Sink Carrier] <Insert carrier>.

          - Sink/Urinal Mounting Height: [Standard] [Child] [Handicapped/elderly according to ICC A117.1].

      - WATERLESS URINALS

Copy "Urinals" Paragraph below and re-edit for each type of wall hung, back outlet, waterless, vitreous china urinal required.

Insert number to complete drawing designation. Use these designations on Drawings to identify each urinal.

Sloan waterfree urinals all use the same cartridge, no matter the style.

To see a complete list of designs, visit https://www.sloan.com/commercial-bathroom-products/urinals/waterless

WES 1000 specification sheet https://specifications.sloan.com/sloan-spec/template/spec-template/fixtureId/916

        - Urinals <Insert drawing designation>: Wall hung, back outlet, waterless, vitreous china, designed for liquid-trap-seal operation.

          - Basis-of-Design Product: Subject to compliance with requirements, provide Sloan Valve Company; Waterfree Urinal - WES-1000 or comparable product by the following:

            - <Insert manufacturer's name>.

          - Fixture:

            - Standard: ASME A112.19.2/CSA B45.1, except without water supply.

            - Material: Vitreous china.

            - Trap-Seal Method: Proprietary cartridge with liquid seal.

            - Outlet Size and Location: [NPS 2 (DN 50)] <Insert size> flange; back.

            - Trap-Sealing Liquid: Proprietary.

            - Color: [White] <Insert color>.

          - Waste Fitting:

            - Standard: ASME A112.18.2/CSA B125.2 for transition coupling, trap, and waste pipe.

            - Size: [NPS 2 (DN 50)] <Insert size>.

Coordinate "Support" Subparagraph below with "Supports" Article.

          - Support: [Type I Urinal Carrier] with fixture support plates and coupling with seal and fixture bolts and hardware matching fixture.[ Include rectangular, steel uprights.]<Insert carrier>.

          - Urinal Mounting Height: [Standard] [Child] [Handicapped/elderly according to ICC A117.1].

Copy "Urinals" Paragraph below and re-edit for each type of wall hung, back outlet, waterless, vitreous china urinal required.

Insert number to complete drawing designation. Use these designations on Drawings to identify each urinal.

For more information about the NEW Hybrid urinal from Sloan Valve, visit https://www.sloan.com/commercial-bathroom-products/urinals/hybrid

HYB 1000 Specification https://specifications.sloan.com/sloan-spec/template/spec-template/fixtureId/19310

        - Urinals <Insert drawing designation>: Wall hung, back outlet, Hybrid Urinal designed for liquid-trap-seal operation. With Jet Rinse Technology.

          - Basis-of-Design Product: Subject to compliance with requirements, provide Sloan Valve Company; Rear Spud Urinals - HYB-1000 Hybrid Urinal or comparable product by the following:

            - <Insert manufacturer's name>.

          - Fixture:

            - Standard: ANSI Z124.9, except without water supply.

            - Material: Vitreous china.

            - Trap-Seal Method: Proprietary cartridge or trap system.

            - Outlet Size and Location: NPS 2 (DN 50); back. Include transition coupling.

            - Trap-Sealing Liquid: Proprietary.

            - Color: [White] <Insert color>.

          - Waste Fitting:

            - Standard: ASME A112.18.2/CSA B125.2 for transition coupling, trap, and waste pipe.

            - Size: [NPS 2 (DN 50)] <Insert size>.

Coordinate "Support" Subparagraph below with "Supports" Article.

          - Support: [Metal plate in wall] [Wood blocking in wall] [Type I urinal carrier with fixture support plates and coupling with seal and fixture bolts and hardware matching fixture].[ Include rectangular, steel uprights.] <Insert carrier>.

          - Urinal Mounting Height: [Standard] [Child] [Handicapped/elderly according to ICC A117.1].

      - URINAL FLUSHOMETER VALVES

Caution: Flushometer-valve consumption must match the water consumption of the urinal.

Sloan's expansive offering of Urinal Flushometers are available in water consumptions ranging from  0.125 gal (0.48 L), 0.25 gal (0.95 L), 0.5 gal (1.9 L), 1.0 gal (3.8 L), and 1.5 gal (5.7 L) per flush.

All Sloan 186 series are available in all flush volumes. Apply desired water consumption to listings below.

For a complete listing of Sloan's Urinal Flushometers, visit https://www.sloan.com/commercial-bathroom-products/flushometers#!view-by-product

Royal 186 Specification https://specifications.sloan.com/sloan-spec/template/spec-template/fixtureId/1034

        - Lever-Handle, Diaphragm Flushometer Valves <Insert designation>:

          - Basis-of-Design Product: Subject to compliance with requirements, provide Sloan Valve Company; Royal® 186 Flushometer or comparable product by the following:

            - <Insert manufacturer's name>.

          - Standard: ASSE 1037.

          - Minimum Pressure Rating: 125 psig (860 kPa).

          - Features: Include integral check stop and backflow-prevention device.

          - Material: Semi red brass body with corrosion-resistant components.

          - Exposed Flushometer-Valve Finish: Chrome plated.

Retain "Panel Finish" Subparagraph below for concealed flushometer-valve components.

          - Panel Finish: Chrome plated or stainless steel.

          - Style: Exposed.

          - Consumption: [0.125 gal. (0.48 L)] [0.25 gal. (0.95 L)] [0.5 gal. (1.9 L)] [1.0 gal. (3.8 L)] [1.5 gal. (5.7 L)] <Insert value> per flush.

          - Minimum Inlet: [NPS 3/4 (DN 20)] [NPS 1 (DN 25)].

          - Minimum Outlet: [NPS 3/4 (DN 20)] [NPS 1-1/4 (DN 32)].

        - Lever-Handle, Diaphragm Flushometer Valves <Insert designation>:

          - Basis-of-Design Product: Subject to compliance with requirements, provide Sloan Valve Company; Royal® 186 0.5 H.E. Flushometer or comparable product by the following:

            - <Insert manufacturer's name>.

          - Standard: ASSE 1037.

          - Minimum Pressure Rating: 125 psig (860 kPa).

          - Features: Include integral check stop and backflow-prevention device.

          - Material: Semi red brass body with corrosion-resistant components.

          - Exposed Flushometer-Valve Finish: Chrome plated.

Retain "Panel Finish" Subparagraph below for concealed flushometer-valve components.

          - Panel Finish: Chrome plated or stainless steel.

          - Style: [Exposed] [Concealed].

          - Consumption: 0.5 gal. (1.9 L) per flush.

          - Minimum Inlet: [NPS 3/4 (DN 20)] [NPS 1 (DN 25)].

          - Minimum Outlet: [NPS 3/4 (DN 20)] [NPS 1-1/4 (DN 32)].

For a complete listing of Sloan's Urinal Flushometers, visit https://www.sloan.com/commercial-bathroom-products/flushometers#!view-by-product

Royal 186-1 ESS Specification https://specifications.sloan.com/sloan-spec/template/spec-template/fixtureId/19393

        - Solenoid-Actuator, Diaphragm Flushometer Valves <Insert designation>:

          - Basis-of-Design Product: Subject to compliance with requirements, provide Sloan Valve Company: Royal 186 ESS  or comparable product by the following:

            - <Insert manufacturer's name>.

          - Standard: ASSE 1037.

          - Minimum Pressure Rating: 125 psig (860 kPa).

          - Features: Include integral check stop and backflow-prevention device.

          - Material: Semi red brass body with corrosion-resistant components.

          - Exposed Flushometer-Valve Finish: Chrome plated.

Retain "Panel Finish" Subparagraph below for concealed flushometer-valve components.

          - Panel Finish: Chrome plated or stainless steel.

          - Style: Exposed.

          - Actuator: Solenoid complying with UL 1951; listed and labeled as defined in NFPA 70, by a qualified testing agency; and marked for intended location and application.

          - Trip Mechanism: Hard-wired electronic sensor complying with UL 1951; listed and labeled as defined in NFPA 70, by a qualified testing agency; and marked for intended location and application.

          - Consumption: 0.125 to 0.5 gal. (0.48 to 0.5 L) per flush.

          - Minimum Inlet: [NPS 3/4 (DN 20)] [NPS 1 (DN 25)].

          - Minimum Outlet: [NPS 3/4 (DN 20)] [NPS 1-1/4 (DN 32)].

        - Solenoid-Actuator, Diaphragm Flushometer Valves <Insert designation>:

          - Basis-of-Design Product: Subject to compliance with requirements, provide Sloan Valve Company; Sloan 186 ESS or comparable product by the following:

            - <Insert manufacturer's name>.

          - Standard: ASSE 1037.

          - Minimum Pressure Rating: 125 psig (860 kPa).

          - Features: Include integral check stop and backflow-prevention device.

          - Material: Brass body with corrosion-resistant components.

          - Exposed Flushometer-Valve Finish: Chrome plated.

Retain "Panel Finish" Subparagraph below for concealed flushometer-valve components.

          - Panel Finish: Chrome plated or stainless steel.

          - Style: Exposed.

          - Actuator: Solenoid complying with UL 1951; listed and labeled as defined in NFPA 70, by a qualified testing agency; and marked for intended location and application.

          - Trip Mechanism: Hard-wired electronic sensor complying with UL 1951; listed and labeled as defined in NFPA 70, by a qualified testing agency; and marked for intended location and application.

          - Consumption: 0.125 to 0.5 gal. (0.48 to 0.5 L) per flush.

          - Minimum Inlet: [NPS 3/4 (DN 20)] [NPS 1 (DN 25)].

          - Minimum Outlet: [NPS 3/4 (DN 20)] [NPS 1-1/4 (DN 32)].

        - Solenoid-Actuator, Diaphragm Flushometer Valves <Insert designation>:

          - Basis-of-Design Product: Subject to compliance with requirements, provide Sloan Valve Company; Regal 186 ESS or comparable product by the following:

            - <Insert manufacturer's name>.

          - Standard: ASSE 1037.

          - Minimum Pressure Rating: 125 psig (860 kPa).

          - Features: Include integral check stop and backflow-prevention device.

          - Material: Brass body with corrosion-resistant components.

          - Exposed Flushometer-Valve Finish: Chrome plated.

Retain "Panel Finish" Subparagraph below for concealed flushometer-valve components.

          - Panel Finish: Chrome plated or stainless steel.

          - Style: Exposed.

          - Actuator: Solenoid complying with UL 1951; listed and labeled as defined in NFPA 70, by a qualified testing agency; and marked for intended location and application.

          - Trip Mechanism: Hard-wired electronic sensor complying with UL 1951; listed and labeled as defined in NFPA 70, by a qualified testing agency; and marked for intended location and application.

          - Consumption: 0.125 to 0.5 gal. (0.48 to 0.5 L) per flush.

          - Minimum Inlet: [NPS 3/4 (DN 20)] [NPS 1 (DN 25)].

          - Minimum Outlet: [NPS 3/4 (DN 20)] [NPS 1-1/4 (DN 32)].

        - Battery-Powered Solenoid-Actuator, Diaphragm Flushometer Valves <Insert designation>:

          - Basis-of-Design Product: Subject to compliance with requirements, provide Sloan Valve Company; SOLIS 8186 H.E. Solar-powered Flushometer or comparable product by the following:

            - <Insert manufacturer's name>.

          - Standard: ASSE 1037.

          - Minimum Pressure Rating: 125 psig (860 kPa).

          - Features: Include integral check stop and backflow-prevention device.

          - Material: Brass body with corrosion-resistant components.

          - Exposed Flushometer-Valve Finish: Chrome plated.

Retain "Panel Finish" Subparagraph below for concealed flushometer-valve components.

          - Panel Finish: Chrome plated or stainless steel.

          - Style: Exposed.

          - Actuator: Solenoid complying with UL 1951; listed and labeled as defined in NFPA 70, by a qualified testing agency; and marked for intended location and application.

          - Trip Mechanism: Hard-wired electronic sensor complying with UL 1951; listed and labeled as defined in NFPA 70, by a qualified testing agency; and marked for intended location and application.

          - Consumption: 0.125 to 0.5 gal. (0.48 to 0.5 L) per flush.

          - Minimum Inlet: [NPS 3/4 (DN 20)] [NPS 1 (DN 25)].

          - Minimum Outlet: [NPS 3/4 (DN 20)] [NPS 1-1/4 (DN 32)].

        - Battery-Powered Solenoid-Actuator, Diaphragm Flushometer Valves <Insert designation>:

          - Basis-of-Design Product: Subject to compliance with requirements, provide Sloan Valve Company; G2 8186 H.E. Flushometer or comparable product by the following:

            - <Insert manufacturer's name>.

          - Standard: ASSE 1037.

          - Minimum Pressure Rating: 125 psig (860 kPa).

          - Features: Include integral check stop and backflow-prevention device.

          - Material: Brass body with corrosion-resistant components.

          - Exposed Flushometer-Valve Finish: Chrome plated.

Retain "Panel Finish" Subparagraph below for concealed flushometer-valve components.

          - Panel Finish: Chrome plated or stainless steel.

          - Style: Exposed.

          - Actuator: Solenoid complying with UL 1951; listed and labeled as defined in NFPA 70, by a qualified testing agency; and marked for intended location and application.

          - Trip Mechanism: Hard-wired electronic sensor complying with UL 1951; listed and labeled as defined in NFPA 70, by a qualified testing agency; and marked for intended location and application.

          - Consumption: 0.125 to 0.5 gal. (0.48 to 0.5 L) per flush.

          - Minimum Inlet: [NPS 3/4 (DN 20)] [NPS 1 (DN 25)].

          - Minimum Outlet: [NPS 3/4 (DN 20)] [NPS 1-1/4 (DN 32)].

        - Battery-Powered Solenoid-Actuator, Diaphragm Flushometer Valves <Insert designation>:

          - Basis-of-Design Product: Subject to compliance with requirements, provide Sloan Valve Company; Sloan 8186 Battery-powered Flushometer or comparable product by the following:

            - <Insert manufacturer's name>.

          - Standard: ASSE 1037.

          - Minimum Pressure Rating: 125 psig (860 kPa).

          - Features: Include integral check stop and backflow-prevention device.

          - Material: Brass body with corrosion-resistant components.

          - Exposed Flushometer-Valve Finish: Chrome plated.

Retain "Panel Finish" Subparagraph below for concealed flushometer-valve components.

          - Panel Finish: Chrome plated or stainless steel.

          - Style: Exposed.

          - Actuator: Solenoid complying with UL 1951; listed and labeled as defined in NFPA 70, by a qualified testing agency; and marked for intended location and application.

          - Trip Mechanism: Hard-wired electronic sensor complying with UL 1951; listed and labeled as defined in NFPA 70, by a qualified testing agency; and marked for intended location and application.

          - Consumption: 0.125 to 0.5 gal. (0.48 to 0.5 L) per flush.

          - Minimum Inlet: [NPS 3/4 (DN 20)] [NPS 1 (DN 25)].

          - Minimum Outlet: [NPS 3/4 (DN 20)] [NPS 1-1/4 (DN 32)].

        - Hydraulic-Actuator, Push-Button, Diaphragm Flushometer Valves <Insert designation>:

          - Basis-of-Design Product: Subject to compliance with requirements, provide Sloan Valve Company; Royal 986 Flushometer or comparable product by the following:

            - <Insert manufacturer's name>.

          - Standard: ASSE 1037.

          - Minimum Pressure Rating: 125 psig (860 kPa).

          - Features: Include integral check stop and backflow-prevention device.

          - Material: Semi red brass body with corrosion-resistant components.

          - Exposed Flushometer-Valve Finish: Chrome plated.

Retain "Panel Finish" Subparagraph below for concealed flushometer-valve components.

          - Panel Finish: Stainless steel.

          - Style: [Exposed] [Concealed].

          - Consumption: [0.5 gal. (1.9 L)] [1.0 gal. (3.8 L)] <Insert value> per flush.

          - Minimum Inlet: [NPS 3/4 (DN 20)] [NPS 1 (DN 25)].

          - Minimum Outlet: [NPS 3/4 (DN 20)] [NPS 1-1/4 (DN 32)].

        - Lever-Handle, Piston Flushometer Valves <Insert designation>:

          - Basis-of-Design Product: Subject to compliance with requirements, provide Sloan Valve Company; Crown® 186-0.5 Flushometer or comparable product by the following:

            - <Insert manufacturer's name>.

          - Standard: ASSE 1037.

          - Minimum Pressure Rating: 125 psig (860 kPa).

          - Features: Include integral check stop and backflow-prevention device.

          - Material: Semi red brass body with corrosion-resistant components.

          - Exposed Flushometer-Valve Finish: Chrome plated.

Retain "Panel Finish" Subparagraph below for concealed flushometer-valve components.

          - Panel Finish: Chrome plated or stainless steel.

          - Style: [Exposed] [Concealed].

          - Consumption: [0.5 gal. (1.9 L)] [1.0 gal. (3.8 L)] <Insert value> per flush.

          - Minimum Inlet: [NPS 3/4 (DN 20)] [NPS 1 (DN 25)].

          - Minimum Outlet: [NPS 3/4 (DN 20)] [NPS 1-1/4 (DN 32)].

        - Lever-Handle, Piston Flushometer Valves <Insert designation>:

          - Basis-of-Design Product: Subject to compliance with requirements, provide Sloan Valve Company; Gem-2® 186-0.5 Flushometer or comparable product by the following:

            - <Insert manufacturer's name>.

          - Standard: ASSE 1037.

          - Minimum Pressure Rating: 125 psig (860 kPa).

          - Features: Include integral check stop and backflow-prevention device.

          - Material: Semi red brass body with corrosion-resistant components.

          - Exposed Flushometer-Valve Finish: Chrome plated.

Retain "Panel Finish" Subparagraph below for concealed flushometer-valve components.

          - Panel Finish: Chrome plated or stainless steel.

          - Style: [Exposed] [Concealed].

          - Consumption: [0.5 gal. (1.9 L)] [1.0 gal. (3.8 L)] <Insert value> per flush.

          - Minimum Inlet: [NPS 3/4 (DN 20)] [NPS 1 (DN 25)].

          - Minimum Outlet: [NPS 3/4 (DN 20)] [NPS 1-1/4 (DN 32)].

        - Hard-Wired, Solenoid-Actuator, Piston Flushometer Valves <Insert designation>:

          - Basis-of-Design Product: Subject to compliance with requirements, provide Sloan Valve Company Sloan 186-0.5 or comparable product by the following:

            - <Insert manufacturer's name>.

          - Standard: ASSE 1037.

          - Minimum Pressure Rating: 125 psig (860 kPa).

          - Features: Include integral check stop and backflow-prevention device.

          - Material: Brass body with corrosion-resistant components.

          - Exposed Flushometer-Valve Finish: Chrome plated.

Retain "Panel Finish" Subparagraph below for concealed flushometer-valve components.

          - Panel Finish: Chrome plated or stainless steel.

          - Style: [Exposed] [Concealed].

          - Actuator: Solenoid complying with UL 1951; listed and labeled as defined in NFPA 70, by a qualified testing agency; and marked for intended location and application.

          - Trip Mechanism: Hard-wired electronic sensor complying with UL 1951; listed and labeled as defined in NFPA 70, by a qualified testing agency; and marked for intended location and application.

          - Consumption: [0.5 gal. (1.9 L)] [1.0 gal. (3.8 L)] <Insert value> per flush.

          - Minimum Inlet: [NPS 3/4 (DN 20)] [NPS 1 (DN 25)].

          - Minimum Outlet: [NPS 3/4 (DN 20)] [NPS 1-1/4 (DN 32)].

        - Battery-Powered, Solenoid-Actuator, Piston Flushometer Valves <Insert designation>:

          - Basis-of-Design Product: Subject to compliance with requirements, provide Sloan Valve Company; Gem-2 186 SFSM Flushometer or comparable product by the following:

            - <Insert manufacturer's name>.

          - Standard: ASSE 1037.

          - Minimum Pressure Rating: 125 psig (860 kPa).

          - Features: Include integral check stop and backflow-prevention device.

          - Material: Brass body with corrosion-resistant components.

          - Exposed Flushometer-Valve Finish: Chrome plated.

Retain "Panel Finish" Subparagraph below for concealed flushometer-valve components.

          - Panel Finish: Chrome plated or stainless steel.

          - Style: [Exposed] [Concealed].

          - Actuator: Solenoid complying with UL 1951; listed and labeled as defined in NFPA 70, by a qualified testing agency; and marked for intended location and application.

          - Trip Mechanism: Battery-powered electronic sensor complying with UL 1951; listed and labeled as defined in NFPA 70, by a qualified testing agency; and marked for intended location and application.

          - Consumption: [0.5 gal. (1.9 L)] [1.0 gal. (3.8 L)] <Insert value> per flush.

          - Minimum Inlet: [NPS 3/4 (DN 20)] [NPS 1 (DN 25)].

          - Minimum Outlet: [NPS 3/4 (DN 20)] [NPS 1-1/4 (DN 32)].

      - SUPPORTS

        - Type I Urinal Carrier:

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

            - Jay R. Smith Mfg. Co.

            - Josam Company.

            - MIFAB, Inc.

            - Wade Drains.

            - Watts; a Watts Water Technologies company.

            - <Insert manufacturer's name>.

          - Standard: ASME A112.6.1M.

        - Type II Urinal Carrier:

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

            - Jay R. Smith Mfg. Co.

            - Josam Company.

            - MIFAB, Inc.

            - Wade Drains.

            - Watts; a Watts Water Technologies company.

            - <Insert manufacturer's name>.

          - Standard: ASME A112.6.1M.

        - Type I Sink Carrier:

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

            - Jay R. Smith Mfg. Co.

            - Josam Company.

            - MIFAB, Inc.

            - Wade Drains.

            - Watts; a Watts Water Technologies company.

            - <Insert manufacturer's name>.

          - Standard: ASME A112.6.1M.

- EXECUTION

      - EXAMINATION

        - Examine roughing-in of water supply and sanitary drainage and vent piping systems to verify actual locations of piping connections before urinal installation.

        - Examine walls and floors for suitable conditions where urinals will be installed.

        - Proceed with installation only after unsatisfactory conditions have been corrected.

      - INSTALLATION

        - Urinal Installation:

          - Install urinals level and plumb according to roughing-in drawings.

          - Install wall-hung, back-outlet urinals onto waste fitting seals and attached to supports.

          - Install wall-hung, bottom-outlet urinals with tubular waste piping attached to supports.

Indicate on Drawings those urinals that are required to be accessible.

          - Install accessible, wall-mounted urinals at mounting height for the handicapped/elderly, according to ICC/ANSI A117.1.

          - Install trap-seal liquid in waterless urinals.

        - Support Installation:

          - Install supports, affixed to building substrate, for wall-hung urinals.

          - Use off-floor carriers with waste fitting and seal for back-outlet urinals.

          - Use carriers without waste fitting for urinals with tubular waste piping.

          - Use chair-type carrier supports with rectangular steel uprights for accessible urinals.

        - Flushometer-Valve Installation:

          - Install flushometer-valve water-supply fitting on each supply to each urinal.

          - Attach supply piping to supports or substrate within pipe spaces behind fixtures.

          - Install lever-handle flushometer valves for accessible urinals with handle mounted on open side of compartment.

          - Install fresh batteries in battery-powered, electronic-sensor mechanisms.

        - Wall Flange and Escutcheon Installation:

          - Install wall flanges or escutcheons at piping wall penetrations in exposed, finished locations.

          - Install deep-pattern escutcheons if required to conceal protruding fittings.

          - Comply with escutcheon requirements specified in Section 220518 "Escutcheons for Plumbing Piping."

Retain "Joint Sealing" Paragraph below if sealants are not specified in Section 079200 "Joint Sealants."

        - Joint Sealing:

          - Seal joints between urinals and walls and floors using sanitary-type, one-part, mildew-resistant silicone sealant.

          - Match sealant color to urinal color.

          - Comply with sealant requirements specified in Section 079200 "Joint Sealants."

      - CONNECTIONS

Coordinate piping installations and specialty arrangements with Drawings and with requirements specified in piping systems. If Drawings are explicit enough, these requirements may be reduced or omitted.

        - Connect urinals with water supplies and soil, waste, and vent piping. Use size fittings required to match urinals.

        - Comply with water piping requirements specified in Section 221116 "Domestic Water Piping."

        - Comply with soil and waste piping requirements specified in Section 221316 "Sanitary Waste and Vent Piping."

        - Where installing piping adjacent to urinals, allow space for service and maintenance.

      - ADJUSTING

        - Operate and adjust urinals and controls. Replace damaged and malfunctioning urinals, fittings, and controls.

        - Adjust water pressure at flushometer valves to produce proper flow.

        - Install fresh batteries in battery-powered, electronic-sensor mechanisms.

      - CLEANING AND PROTECTION

        - Clean urinals and fittings with manufacturers' recommended cleaning methods and materials.

        - Install protective covering for installed urinals and fittings.

        - Do not allow use of urinals for temporary facilities unless approved in writing by Owner.

END OF SECTION 224213.16